## Aster catalog
Model | Nominal output | Zones | Cylinder | Refrigerant | SCOP | Manufacturer
Aster 8 | 8 kW at A7/W35 | Up to 3 | 180 L | R-32 1.15 kg | 4.6 | Norrby Climate Systems
Aster 12 | 12 kW at A7/W35 | Up to 5 | 250 L | R-32 1.65 kg | 4.3 | Norrby Climate Systems

## CarePlus eligibility
Requirement | Status
Registered within 30 calendar days of commissioning | Required
Commissioned by Atlas-certified installer | Required
Annual preventive-maintenance visit every 12 months | Required
Approved replacement parts and refrigerant procedures | Required
Late annual service cure period | 45 days